|  |

| **型式の区分** (Type Classification) |
| --- |

 |
| --- | --- | --- |
|  | **特 定 電 気 用 品 名**(Name of Specified Electrical Appliance and Material) | **:** | 管形ヒューズ (Cartridge fuses) |
|  | **要　素** (Factor) | **区　分** (Classification) |
|  | 定格電圧 (Rated voltage) | [ ]  (1) 125Ｖ以下のもの (125V or less)[ ]  (2) 125Ｖを超えるもの (Exceeding 125V) |
|  | 定格電流（定格電流表示のあるものの場合に限る。） (Rated current (limited to those with rated current markings.)) | [ ]  (1) ５Ａ以下のもの (5A or less)[ ]  (2) ５Ａを超え15Ａ以下のもの (Exceeding 5A, and less than or equal to 15A)[ ]  (3) 15Ａを超え30Ａ以下のもの (Exceeding 15A, and less than or equal to 30A)[ ]  (4) 30Ａを超え60Ａ以下のもの (Exceeding 30A, and less than or equal to 60A)[ ]  (5) 60Ａを超え100Ａ以下のもの (Exceeding 60A, and less than or equal to 100A)[ ]  (6) 100Ａを超えるもの (Exceeding 100A) |
|  | 適用電動機の定格容量（定格電流表示のないものの場合に限る。） (Rated capacity of applicable motor (limited to those without rated current markings.)) | [ ]  (1) 単相で200Ｗ以下のもの (Single phase, 200W or less)[ ]  (2) 単相で200Ｗを超え400Ｗ以下のもの (Single phase, exceeding 200W, and less than or equal to 400W)[ ]  (3) 単相で400Ｗを超え750Ｗ以下のもの (Single phase, exceeding 400W, and less than or equal to 750W)[ ]  (4) 単相で750Ｗを超えるもの (Single phase, exceeding 750W)[ ]  (5) ３相で750Ｗ以下のもの (Three phase, 750W or less)[ ]  (6) ３相で750Ｗを超え2.2kW以下のもの (Three phase, exceeding 750W, and less than or equal to 2.2kW)[ ]  (7) ３相で2.2kWを超え3.7kW以下のもの (Three phase, exceeding 2.2kW, and less than or equal to 3.7kW)[ ]  (8) ３相で3.7kWを超え7.5kW以下のもの (Three phase, exceeding 3.7kW, and less than or equal to 7.5kW)[ ]  (9) ３相で7.5kWを超えるもの (Three phase, exceeding 7.5kW) |
|  | 可溶体の主材料 (Fuse element materials) | [ ]  (1) 銀のもの (Silver)[ ]  (2) アルミニウムのもの (Aluminum)[ ]  (3) 亜鉛のもの (Zinc)[ ]  (4) 鉛のもの (Lead)[ ]  (5) 銅のもの (Copper)[ ]  (6) その他のもの (Others) |
|  | 可溶体の数 (Number of fuse elements) | [ ]  (1) １のもの (One)[ ]  (2) ２以上のもの (Two or more) |
|  | 再使用（管形ヒューズを除く。） (Reusability (excluding cartridge fuses.)) | -- |
|  | 内部充てん物 (Filler materials) | [ ]  (1) あるもの (With filler materials)[ ]  (2) ないもの (Without filler materials) |
|  | 筒（内筒を除く。）の材料 (Cartridge materials (excluding internal cartridge.)) | [ ]  (1) フェノール樹脂のもの (Phenol resin)[ ]  (2) ファイバーのもの (Fiber)[ ]  (3) 磁器のもの又はガラスのもの (Ceramic or glass)[ ]  (4) ポリエステル樹脂のもの (Polyester resin)[ ]  (5) メラミン樹脂のもの (Melamine resin)[ ]  (6) ユリア樹脂のもの (Urea resin)[ ]  (7) その他のもの (Others) |
|  | 端子 (Terminals) | [ ]  (1) 刃形のもの (Knife blade terminal)[ ]  (2) 筒形のもの (Tubular terminal)[ ]  (3) 締付け形のもの (Clamp terminal)[ ]  (4) リード線付きのもの (Lead terminal)[ ]  (5) その他のもの (Others) |
|  | 排気孔 (Exhausting opening) | [ ]  (1) あるもの (With exhausting opening)[ ]  (2) ないもの (Without exhausting opening) |
|  | 溶断の表示 (Blowout fuse indicator) | [ ]  (1) あるもの (With blowout fuse indicator)[ ]  (2) ないもの (Without blowout fuse indicator) |
|  | 用途 (Application) | [ ]  (1) 電動機用のもの (For use in electric motors)[ ]  (2) 電子機器用のもの (For use in electric appliances)[ ]  (3) 短絡保護専用のもの (For exclusive use in short circuit protectors)[ ]  (4) その他のもの (Others) |
|  | 定格遮断電流 (Rated breaking capacity) | [ ]  (1) 100Ａ以下のもの (100A or less)[ ]  (2) 100Ａを超え300Ａ以下のもの (Exceeding 100A, and less than or equal to 300A)[ ]  (3) 300Ａを超え500Ａ以下のもの (Exceeding 300A, and less than or equal to 500A)[ ]  (4) 500Ａを超え1,000Ａ以下のもの (Exceeding 500A, and less than or equal to 1,000A)[ ]  (5) 1,000Ａを超え1,500Ａ以下のもの (Exceeding 1,000A, and less than or equal to 1,500A)[ ]  (6) 1,500Ａを超え2,500Ａ以下のもの (Exceeding 1,500A, and less than or equal to 2,500A)[ ]  (7) 2,500Ａを超え5,000Ａ以下のもの (Exceeding 2,500A, and less than or equal to 5,000A)[ ]  (8) 5,000Ａを超え7,500Ａ以下のもの (Exceeding 5,000A, and less than or equal to 7,500A)[ ]  (9) 7,500Ａを超え10,000Ａ以下のもの (Exceeding 7,500A, and less than or equal to 10,000A)[ ]  (10) 10,000Ａを超え15,000Ａ以下のもの (Exceeding 10,000A, and less than or equal to 15,000A)[ ]  (11) 15,000Ａを超え20,000Ａ以下のもの (Exceeding 15,000A, and less than or equal to 20,000A)[ ]  (12) 20,000Ａを超え25,000Ａ以下のもの (Exceeding 20,000A, and less than or equal to 25,000A)[ ]  (13) 25,000Ａを超え30,000Ａ以下のもの (Exceeding 25,000A, and less than or equal to 30,000A)[ ]  (14) 30,000Ａを超えるもの (Exceeding 30,000A) |