|  | | | **型式の区分** (Type Classification) | | --- | | | | | | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | | **特 定 電 気 用 品 名**  (Name of Specified Electrical Appliance and Material) | | **:** | | 圧力スイッチ (Pressure switches) | |
|  | | **要　素** (Factor) | | **区　分** (Classification) | |
|  | | 定格電圧 (Rated voltage) | | (1) 125Ｖ以下のもの (125V or less)  (2) 125Ｖを超えるもの (Exceeding 125V) | |
|  | | 定格電流（定格電流表示のあるものの場合に限る。） (Rated current (limited to those with rated current markings.)) | | (1) ７Ａ以下のもの (7A or less)  (2) ７Ａを超え10Ａ以下のもの (Exceeding 7A, and less than or equal to 10A)  (3) 10Ａを超え15Ａ以下のもの (Exceeding 10A, and less than or equal to 15A)  (4) 15Ａを超えるもの (Exceeding 15A) | |
|  | | 適用電動機の定格容量（適用電動機の定格容量表示のあるものの場合に限る。） (Rated capacity of applicable motor (limited to those with rated current markings for applicable motor.)) | | (1) 単相で200Ｗ以下のもの (Single phase, 200W or less)  (2) 単相で200Ｗを超え400Ｗ以下のもの (Single phase, exceeding 200W, and less than or equal to 400W)  (3) 単相で400Ｗを超え750Ｗ以下のもの (Single phase, exceeding 400W, and less than or equal to 750W)  (4) 単相で750Ｗを超えるもの (Single phase, exceeding 750W)  (5) ３相で750Ｗ以下のもの (Three phase, 750W or less)  (6) ３相で750Ｗを超え2.2kW以下のもの (Three phase, Exceeding 750W, and less than or equal to 2.2kW)  (7) ３相で2.2kWを超え3.7kW以下のもの (Three phase, Exceeding 2.2kW, and less than or equal to 3.7kW)  (8) ３相で3.7kWを超え7.5kW以下のもの (Three phase, Exceeding 3.7kW, and less than or equal to 7.5kW)  (9) ３相で7.5kWを超えるもの (Three phase, Exceeding 7.5kW) | |
|  | | 極 (Poles) | | (1) 単極のもの (Single pole)  (2) ２極以上のもの (Two or more poles) | |
|  | | 接続する電線の種類 (Type of cable or cord to which connected) | | (1) 銅のもの (Copper)  (2) その他のもの (Others) | |
|  | | 接点の材料 (Contact material) | | (1) 銀のもの又は銀合金のもの (Silver or silver alloy)  (2) 銅のもの又は銅合金のもの (Copper or copper alloy)  (3) その他のもの (Others) | |
|  | | 動作圧力（圧力スイッチの場合に限る。） (Operating pressure (limited to pressure switches.)) | | (1) 100kPa以下のもの (100kPa or less)  (2) 100kPaを超えるもの (Exceeding 100kPa) | |
|  | | 外郭の材料 (Outer case materials) | | (1) 金属のもの (Metal)  (2) 合成樹脂のもの (Plastic)  (3) その他のもの (Others) | |
|  | | 用途 (Application) | | (1) 電動機用のもの (For use with electric motors)  (2) 電磁開閉器操作用のもの (For use with electromagnetic switchgears)  (3) その他のもの (Others) | |
|  | | 防水構造 (Type of waterproof) | | (1) 防雨型のもの (Rainproof type)  (2) 防浸型のもの (Immersion proof type)  (3) 非防水型のもの (Non-waterproof type) | |