|  |

| **型式の区分** (Type Classification) |
| --- |

 |
| --- | --- | --- |
|  | **特 定 電 気 用 品 名**(Name of Specified Electrical Appliance and Material) | **:** | 配線用遮断器 (Circuit-breakers) |
|  | **要　素** (Factor) | **区　分** (Classification) |
|  | 相及び線式 (Phase and wiring type) | [ ]  (1) 単相２線式のもの (Single phase, two wire type)[ ]  (2) 単相３線式のもの (Single phase, three wire type)[ ]  (3) その他のもの (Others) |
|  | 定格電圧 (Rated voltage) | [ ]  (1) 125Ｖ以下のもの (125V or less)[ ]  (2) 125Ｖを超えるもの (Exceeding 125V) |
|  | 定格電流 (Rated current) | [ ]  (1) 15Ａ以下のもの (15A or less)[ ]  (2) 15Ａを超え30Ａ以下のもの (Exceeding 15A, and less than or equal to 30A)[ ]  (3) 30Ａを超え50Ａ以下のもの (Exceeding 30A, and less than or equal to 50A)[ ]  (4) 50Ａを超えるもの (Exceeding 50A) |
|  | 極 (Poles) | [ ]  (1) 単極のもの (Single poles)[ ]  (2) ２極のもの (Two poles)[ ]  (3) ３極以上のもの (Three or more poles) |
|  | 電源側接続端子 (Power supply terminals) | [ ]  (1) ねじ端子のもの (Cord connected type)[ ]  (2) プラグイン式のもの (Plug-in type)[ ]  (3) その他のもの (Others) |
|  | 接続する電線の種類 (Type of cable or cord to be connected) | [ ]  (1) 銅のもの (Copper)[ ]  (2) その他のもの (Others) |
|  | 引き外し機構用の制御電源 (Control power circuit for tripping means) | [ ]  (1) あるもの (With control power circuit for tripping means)[ ]  (2) ないもの (Without control power circuit for tripping means) |
|  | 接点の材料 (Contact materials) | [ ]  (1) 銀のもの又は銀合金のもの (Silver or silver alloy)[ ]  (2) 銅のもの又は銅合金のもの (Copper or copper alloy)[ ]  (3) その他のもの (Others) |
|  | 過電流引き外し素子の数 (Number of over current tripping elements) | [ ]  (1) １のもの (One)[ ]  (2) ２のもの (Two)[ ]  (3) ３以上のもの (Three or more) |
|  | 過電流引き外し機構 (Over current tripping mechanism) | [ ]  (1) 熱動式のもの (Thermal type)[ ]  (2) 電磁式のもの (Electromagnetic type)[ ]  (3) その他のもの (Others) |
|  | 定格遮断電流 (Rated breaking capacity | [ ]  (1) 1,000Ａ以下のもの (1,000A or less)[ ]  (2) 1,000Ａを超え1,500Ａ以下のもの (Exceeding 1,000A, and less than or equal to 1,500A)[ ]  (3) 1,500Ａを超え2,500Ａ以下のもの (Exceeding 1,500A, and less than or equal to 2,500A)[ ]  (4) 2,500Ａを超え5,000Ａ以下のもの (Exceeding 2,500A, and less than or equal to 5,000A)[ ]  (5) 5,000Ａを超え7,500Ａ以下のもの (Exceeding 5,000A, and less than or equal to 7,500A)[ ]  (6) 7,500Ａを超え10,000Ａ以下のもの (Exceeding 7,500A, and less than or equal to 10,000A)[ ]  (7) 10,000Ａを超え15,000Ａ以下のもの (Exceeding 10,000A, and less than or equal to 15,000A)[ ]  (8) 15,000Ａを超え20,000Ａ以下のもの (Exceeding 15,000A, and less than or equal to 20,000A)[ ]  (9) 20,000Ａを超え25,000Ａ以下のもの (Exceeding 20,000A, and less than or equal to 25,000A)[ ]  (10) 25,000Ａを超え30,000Ａ以下のもの (Exceeding 25,000A, and less than or equal to 30,000A)[ ]  (11) 30,000Ａを超えるもの (Exceeding 30,000A) |
|  | 定格コード保護電流（定格コード保護電流表示のあるものの場合に限る。） (Rated cord protection current (limited to those with rated cord protection current markings.) | [ ]  (1) 1,000Ａ以下のもの (1,000A or less)[ ]  (2) 1,000Ａを超え1,500Ａ以下のもの (Exceeding 1,000A, and less than or equal to 1,500A)[ ]  (3) 1,500Ａを超え2,500Ａ以下のもの (Exceeding 1,500A, and less than or equal to 2,500A)[ ]  (4) 2,500Ａを超え5,000Ａ以下のもの (Exceeding 2,500A, and less than or equal to 5,000A)[ ]  (5) 5,000Ａを超えるもの (Exceeding 5,000A) |